## Slide 2
Put “Add-in” (Dino Lite) to your local directory
1

## Slide 3
Open new Blank Workbook (excel)
2

## Slide 4
Activate “Developer” tab if not active
3

## Slide 5
Go to tab “Developer” >> “Excel Add-ins
3b

## Slide 6
Activate “Dino Lite” Add-in
4

## Slide 7
Right click on any tab and choose “Custom the Ribbon”
5

## Slide 8
Create new tab then add “DinoLiteToQDAS” macro from list
7

## Slide 9
“Dino Lite” menu is added and ready to use!
8

## Slide 10
How To Use !!!

## Slide 11
From “Dino Capture 2.0” click “measurements properties” then “Export to excel”
9

## Slide 12
Select Range value to be transferred
10
Make sure Procella not in “Minimize” mode
Values will be transfer automatically to Procella once “OK” button pressed